## Listado referencias elementos
Fabricante | Descripción | Código | Precio unitario (€) (incluido GG+BI) | Precio unitario (€) con % descuento aplicado (incluido GG+BI)
Schneider Electric | Modicon TM3 - Módulo TM3 - 8 entradas analógicas con terminales de resorte | TM3AI8G | 352.68 | 352.68
Schneider Electric | Modicon M241 - Controlador M241 24 ES Relé Ethernet | TM241CE24R | 652.77 | 652.77
Schneider Electric | ConneXium Basic Managed Switch - 6 puertos para cobre + 2 puertos para fibra óptica multimodo | TCSESB083F2CU0 | 1480.39 | 1480.39
Schneider Electric | Fuente de alimentación conmutada regulada, 1 o 2 fases, 100..240 V AC, 24 V, 3 A | ABL8REM24030 | 121.37 | 121.37
Schneider Electric | M580,Rack Eth 08 Pos | BMEXBP0800 | 555.55 | 555.55
Schneider Electric | M580,Rack Eth 12 Pos | BMEXBP1200 | 802.33 | 802.33
Schneider Electric | M580,Com,Eth DIO Head | BMENOC0301 | 1991.8 | 1991.8
Schneider Electric | Modicon M580 Profibus DP Master module | PMEPXM0100 | 2730.26 | 2730.26
Schneider Electric | M580,Com,EthernetIO Drop Avanzado | BMECRA31210 | 1338.55 | 1338.55
Schneider Electric | M580,CPU,HSBY,Eth,L2,NO D/A LOCAL | BMEH582040 | 6894.12 | 6894.12
Schneider Electric | M580,CPU,HSBY,Eth,L4,NO D/A LOCAL | BMEH584040 | 13678.02 | 13678.02
Schneider Electric | M580,CPU,Eth,2048D,512A,RIO | BMEP582040 | 6231.14 | 6231.14
Schneider Electric | M580,CPU,Eth,2048D,512A,NoRIO | BMEP582020 | 5498.78 | 5498.78
Schneider Electric | Profibus DP V1 maestro remoto -para Premium/Quantum/M340/M580 PLC | TCSEGPA23F14F | 5294.99 | 5294.99
Schneider Electric | M580,Rack Eth 10 Pos,FA Dual | BMEXBP1002 | 1012.83 | 1012.83
Schneider Electric | M580,Rack Eth 04 Pos | BMEXBP0400 | 413.61 | 413.61
Schneider Electric | M580,CPU,HSBY,Eth,L6,NO D/A LOCAL | BMEH586040 | 19791.47 | 19791.47
Schneider Electric | M580,Com,Advanced RTU IEC-DNP3 | BMENOR2200H | 2534.05 | 2534.05
Schneider Electric | M580,FA 24-48 vDC Redund | BMXCPS4022 | 1398.24 | 1398.24
Schneider Electric | M580,Com,OPC UA | BMENUA0100 | 1789.1 | 1789.1
Schneider Electric | M580,FA 100-240 vCA Redund | BMXCPS4002 | 1321.59 | 1321.59
Schneider Electric | M580,CPU,Eth,4096D,1024A,RIO | BMEP584040 | 14713.6 | 14713.6
Schneider Electric | M580,HART,8 Canales Entrada | BMEAHI0812 | 2425.82 | 2425.82
Schneider Electric | M580,CPU,Eth,3072D,768A,NoRIO | BMEP583020 | 9540.32 | 9540.32
Schneider Electric | M340,08 SD,Rele,125vDC/250vAC (20P) | BMXDRA0815 | 408.12 | 408.12
Schneider Electric | M580,HART,4 Canales Salida | BMEAHO0412 | 1883.87 | 1883.87
Schneider Electric | M580,TarjMem,200MbProg,4GbDat | BMXRMS004GPF | 989.1 | 989.1
Schneider Electric | M580,Com,IEC61850 | BMENOP0300 | 5350.39 | 5350.39
Schneider Electric | CC,M580,CPU,Eth,5120D,1280A,RIO | BMEP585040C | 18607.32 | 18607.32
Schneider Electric | M580 SAFE,16 ED,24vAC/DC LogNeg (20P) | BMXSDI1602 | 1307.35 | 1307.35
Schneider Electric | M580,Rack Eth 06 Pos,FA Dual | BMEXBP0602 | 695.27 | 695.27
Schneider Electric | M580 SAFE,COPROCESSOR | BMEP58CPROS3 | 860.53 | 860.53
Schneider Electric | M580 SAFE,CPU,Eth,4096D,1024A,RIO | BMEP584040S | 16697.72 | 16697.72
Schneider Electric | M580,CPU,Eth,4096D,1024A,NoRIO | BMEP584020 | 14012.91 | 14012.91
Schneider Electric | M580,Com,Eth DIO FactoryCast Head | BMENOC0311 | 2381.29 | 2381.29
Schneider Electric | M580,Com,Eth CONTROL Head | BMENOC0321 | 2559.27 | 2559.27
Schneider Electric | CC,M580,Rack Eth 08 Pos | BMEXBP0800H | 648.32 | 648.32
Schneider Electric | CC,M580,Rack Eth 12 Pos | BMEXBP1200H | 904.6 | 904.6
Schneider Electric | M580 SAFE,CPU,Eth,2048D,512A,RIO | BMEP582040S | 5299.07 | 5299.07
Schneider Electric | Zócalo SFP con conexión HSBY- RJ45 | 490NAC0100 | 321.75 | 321.75
Schneider Electric | CC,M580,CPU,Eth,1024D,256A,NoRIO | BMEP581020H | 3873.28 | 3873.28
Schneider Electric | M580 SAFE,08 SD,TRT,24vDC,LogPos (20P) | BMXSDO0802 | 999.74 | 999.74
Schneider Electric | M580,CPU,Eth,6144D,1536A,RIO | BMEP586040 | 19989.24 | 19989.24
Schneider Electric | M580,Com,Embedded Switch | BMENOS0300 | 1464.67 | 1464.67
Schneider Electric | M580 SAFE,04 EA 16bits,Aisl,10v,20mA | BMXSAI0410 | 1353.51 | 1353.51
Schneider Electric | M580,CPU,Eth,3072D,768A,RIO | BMEP583040 | 10060.75 | 10060.75
Schneider Electric | Modicon M580 Hardened Profibus DP Master module | PMEPXM0100H | 3045.96 | 3045.96
Schneider Electric | M580,Com,CANopen X80 Master | BMECXM0100 | 1796.5 | 1796.5
Schneider Electric | M580 SAFE,CPU,Eth,6144D,1536A,RIO | BMEP586040S | 22880.45 | 22880.45
Schneider Electric | CC,M580,Com,Eth DIO Head | BMENOC0301C | 2370.03 | 2370.03
Schneider Electric | M580 SAFE,FA 100-240 vCA Redund | BMXCPS4002S | 1315.87 | 1315.87
Schneider Electric | M580,Com,Gobal Data | BMXNGD0100 | 1745.95 | 1745.95
Schneider Electric | M580,CPU,Eth,5120D,1280A,RIO | BMEP585040 | 16180.25 | 16180.25
Schneider Electric | CC,M580,HART,8 Canales Entrada | BMEAHI0812H | 3017.66 | 3017.66
Schneider Electric | CC,M580,CPU,HSBY,Eth,L2,NO D/A LOCAL | BMEH582040C | 7928.23 | 7928.23
Schneider Electric | CC,M580,CPU,Eth,2048D,512A,NoRIO | BMEP582020H | 6450.08 | 6450.08
Schneider Electric | M580 SAFE,FA 24-48 vDC Redund | BMXCPS4022S | 1162.66 | 1162.66
Schneider Electric | Profibus DP V1 maestro remoto -para Premium/Quantum/M340/M580 PLC - recubierto | TCSEGPA23F14FK | 7765.21 | 7765.21
Schneider Electric | M580,FA 100-150 vDC Redund | BMXCPS3522 | 1506.2 | 1506.2
Schneider Electric | M580 SAFE,CPU,HSBY,Eth,L2,NO D/A LOCAL | BMEH582040S | 7361.78 | 7361.78
Schneider Electric | M580,HART,Bornero 20P+Cable 3m | BMXFTA3022 | 138.31 | 138.31
Schneider Electric | CC,M580,FA 100-240 vCA Redund | BMXCPS4002H | 1505.06 | 1505.06
Schneider Electric | M580 SAFE,CPU,HSBY,Eth,L4,NO D/A LOCAL | BMEH584040S | 16637.24 | 16637.24
Schneider Electric | CC,M580,Rack Eth 10 Pos | BMEXBP1002H | 1187.82 | 1187.82
Schneider Electric | M340,16 SD,Triac,240vAC (20P) | BMXDAO1615 | 724.14 | 724.14
Schneider Electric | M580 DISTRIBUTED PAC COATED | BMED581020C | 2975.58 | 2975.58
Schneider Electric | CC,M580,Rack Eth 04 Pos | BMEXBP0400H | 473.33 | 473.33
Schneider Electric | CC,M580,Com,CANopen X80 Master | BMECXM0100H | 2349.62 | 2349.62
Schneider Electric | M580 DISTRIBUTED PAC | BMED581020 | 1983.72 | 1983.72
Schneider Electric | M580,HART,Bornero 20P+Cable 1.5m | BMXFTA1522 | 115.31 | 115.31
Schneider Electric | CC,M580,FA 100-150 vDC Redund | BMXCPS3522H | 1766.45 | 1766.45
Schneider Electric | CC,M580,HART,4 Canales Salida | BMEAHO0412C | 2287.54 | 2287.54
Schneider Electric | CC,M580,CPU,HSBY,Eth,L6,NO D/A LOCAL | BMEH586040C | 22760.22 | 22760.22
Schneider Electric | M580 SAFE,FA 100-150 vDC Redund | BMXCPS3522S | 1397.82 | 1397.82
Schneider Electric | CC,M580,Com,Eth CONTROL Head | BMENOC0321C | 2872.08 | 2872.08
Schneider Electric | CC,M580,Rack Eth 06 Pos | BMEXBP0602H | 807.25 | 807.25
Schneider Electric | CC,M580,CPU,Eth,6144D,1536A,RIO | BMEP586040C | 22764.44 | 22764.44
Schneider Electric | CC,M580,FA 24-48 vDC Redund | BMXCPS4022H | 1623.74 | 1623.74
Schneider Electric | CC,M580,Com,IEC61850 | BMENOP0300C | 6152.97 | 6152.97
Schneider Electric | CC,M580,Com,Embedded Switch | BMENOS0300C | 1489.41 | 1489.41
Schneider Electric | M580 SAFE,04 SD,Rele,24vDC,3A (20P) | BMXSRA0405 | 1307.35 | 1307.35
Schneider Electric | CC,M580,CPU,Eth,2048D,512A,RIO | BMEP582040H | 7307.7 | 7307.7
Schneider Electric | M580 SAFE,CPU,HSBY,Eth,L6,NO D/A LOCAL | BMEH586040S | 23142.98 | 23142.98
Schneider Electric | CC,M580,Com,Eth DIO FactoryCast Head | BMENOC0311C | 2738.46 | 2738.46
Schneider Electric | CC,M580,CPU,HSBY,Eth,L4,NO D/A LOCAL | BMEH584040C | 15729.71 | 15729.71
Schneider Electric | CC,M580,Com,OPC UA | BMENUA0100H | 2420.56 | 2420.56
Schneider Electric | M340,32 ED,12/24vDC (40P) | BMXDDI3232 | 747.88 | 747.88
Schneider Electric | Zócalo SFP con conexión HSBY- fibra óptica monomodo | 490NAC0201 | 1083.97 | 1083.97
Schneider Electric | M340,32 SD,TRT,24vDC,0.5A/SD,LogPos(40P) | BMXDDO3202 | 788.3 | 788.3
Schneider Electric | M340,Bornero 40P+Precable 3m | BMXFTW305 | 154.8 | 154.8
Schneider Electric | M340,16 ED,240vAC, SUPERVISED (20P) | BMXDAI1615 | 582.37 | 582.37
Schneider Electric | M340,08 SD,Rele,125vDC/250vAC (20P) | BMXDRC0805 | 578.82 | 578.82
Schneider Electric | CC,M340,32 SD,TRT,24vDC,0.5A/SD,LogPos(40P) | BMXDDO3202H | 945.41 | 945.41
Schneider Electric | M340,16 ED,115vAC, SUPERVISED (20P) | BMXDAI1614 | 583.84 | 583.84
Schneider Electric | CC,M340,16 SD,Triac,240vAC (20P) | BMXDAO1615H | 932.22 | 932.22
Schneider Electric | CC,M340,64 SD,TRT,24vDC,LogPos (2x40P) | BMXDDO6402KC | 1365.85 | 1365.85
Schneider Electric | M340,Bornero 20P+Precable 5m | BMXFTW505 | 233.15 | 233.15
Schneider Electric | M340,TarjMem,ModEthernet,Web Usuario | BMXRWSC016M | 930.48 | 930.48
Schneider Electric | M340,16 ED TimeStamp,1mseg | BMXERT1604H | 1253.33 | 1253.33
Schneider Electric | CC,M340,16 ED,115vAC, SUPERVISED (20P) | BMXDAI1614H | 758.99 | 758.99
Schneider Electric | CC,M340,32 ED,12/24vDC (40P) | BMXDDI3232H | 897.44 | 897.44
Schneider Electric | CC,M340,32 ED,48vDC (40P) | BMXDDI3203H | 987.86 | 987.86
Schneider Electric | M340,16 ED,100-124vAC, SUPERVISED (20P) | BMXDAI16142 | 696.14 | 696.14
Schneider Electric | CC,M340,16 ED,240vAC, SUPERVISED (20P) | BMXDAI1615H | 635.93 | 635.93
Schneider Electric | CC,M340,08 SD,Rele,24vDC (20P) | BMXDRC0805H | 684.34 | 684.34
Schneider Electric | M340,TarjMem BMXNOR0200H Web Pages, Data | BMXRWS128MWF | 767.23 | 767.23
Schneider Electric | M340,32 ED,48vDC (40P) | BMXDDI3203 | 822.65 | 822.65
Schneider Electric | Altistart 22 - ATS22 arrancador suave para motores asíncronos 7,5kW - 230...440V - 17A | ATS22D17Q | 764.9 | 764.9
Schneider Electric | MODULO PROCESADOR STU | HMIS5T | 464.81 | 464.81
Schneider Electric | base passiva ABE7 – 12 entradas ou saídas – Led - isolador | ABE7H12S21 | 290.43 | 290.43
Schneider Electric | Subbase de conexión ABE7 - para la distribución de 4 termopares | ABE7CPA412 | 1026.59 | 1026.59
Schneider Electric | Modicon M241 - Módulo network TM4 4 conmutadores Ethernet | TM4ES4 | 223.58 | 223.58
Schneider Electric | Modicon M251 - Controlador lógico M251 2 x Ethernet | TM251MESE | 614.72 | 614.72
Schneider Electric | Harmony hub, inalámbrico a modbus/tcp, puerta de enlace ethernet, 24...240 v ac/dc | ZBRN1 | 454.65 | 454.65
Schneider Electric | Harmony hub, inalámbrico a modbus, puerta de enlace de línea serie, 24... 240 v ac/dc | ZBRN2 | 613.4 | 613.4
Schneider Electric | Easergy P3U 3CT 1Io 4VT 16DI 8DO 48-230V DI24V 2RJ45 | REL52003 | 4502.8 | 4502.8
Schneider Electric | PowerLogic™ PM8000 - Central de medida PM8240 - montajen painel | METSEPM8240 | 3186.65 | 3186.65
Schneider Electric | Easergy HU250: 4G modem box with GPS clock synchronization (1 ms) - EU standard | EMS59155 | 1827.73 | 1827.73
Schneider Electric | Switch 8 Puertos FO | RSB20-0800M2M2SAAB | 1305.29 | 1305.29
ZIV | CONCENTRADOR DE FIBRAS ÓPTICAS ZIV MOD.4CCN-A2N204400EA | 4CCN-A2N204400EA | 4679.86 | 4679.86
ZIV | CONCENTRADOR DE FIBRAS ÓPTICAS ZIV MOD.4CCN-A2N202400EA | 4CCN-A2N202400EA | 4679.86 | 4679.86
ZIV | Protección Multifunción de Alimentador para Sistemas de MT e Industria | ZIV IRL-F | 6714.25 | 6714.25
HIRSCHMAN | Switch Gestionado | RSP25-11003Z6TT-SCCV9HHE2S | 7365.41 | 7365.41
HIRSCHMAN | Switch Gestionado | BRS20-16009999-SFCT99HHSES | 5452.5 | 5452.5
HIRSCHMAN | Módulo F.O. | MM3-2FXM2/2TX1 | 3969.43 | 3969.43
HIRSCHMAN | Módulo Ethernet | MS20 | 5035.91 | 5035.91
HIRSCHMAN | Módulo Ethernet | MS30 | 802.9 | 802.9
CISCO | Switch Ethernet industrial | IE 2000-4S-TS-G | 2347.38 | 2347.38
CISCO | Switch Ethernet industrial | IE 2000-8T67 | 3929.69 | 3929.69
CISCO | Switch Ethernet industrial | IE 2000-8T67P | 5981.47 | 5981.47
PHOENIX CONTACT | Fuente de alimentación 24 V 10 A | QUINT-PS/1AC/24DC/10 | 830.54 | 830.54
PHOENIX CONTACT | Fuente de alimentación 24 V DC / 20 A | QUINT4-PS/1AC/24DC/20 | 741.71 | 741.71
PHOENIX CONTACT | Fuente de alimentación 24 V DC / 20 A | QUINT4-PS/3AC/24DC/20 | 653.69 | 653.69
PHOENIX CONTACT | Fuente de alimentación 24 V DC / 2,5 A | QUINT4-PS/1AC/24DC/2.5/SC | 206.01 | 206.01
PHOENIX CONTACT | Fuente de alimentación 24 V DC/5 A | TRIO-PS-2G/1AC/24DC/5 | 219.85 | 219.85
PHOENIX CONTACT | Módulo de redundancia | QUINT-ORING/24DC/2X20/1X40 | 610.84 | 610.84
TESAR | Centralita de temperatura | TSX1 | 732.78 | 732.78
KNICK | Transductor intensidad | P41000 D1 | 981.18 | 981.18
PETERCEM | Transductor intensidad toroidal CC | NCS125T-4AF | 1080.54 | 1080.54
LEM | Transductor intensidad zona CA | LF 1010-S/SP41 | 197.35 | 197.35
LEM | Transductor de tensión 2.000V | DVL 2000 | 381.54 | 381.54
LEM | Transductor de tensión 1.000V | DVL 1000 | 347.76 | 347.76
MORS SMITT | Transductor PAM | MSA50-S-9001 | 670.68 | 670.68
IXYS | Diodo antirretorno | M1494NC250 | 358.69 | 358.69
TRACO POWER | Fuente 110/15VDC | TEP 150-7213WI | 228.06 | 228.06
TRACO POWER | Fuente 110/12VDC | TCL 120-112C | 68.48 | 68.48
CITRACC | Placa de Control Inversor | PEDBoard V3+ADAPTED ED170903-R1 | 7407.56 | 7407.56
CITRACC | Placa de Control de drivers (Common Board) | Common V2 | 4327.13 | 4327.13
CITRACC | Placa alimentación drivers | V1 | 121.94 | 121.94
ISP | IGBTs | 2MBI1400VXB-170E-80 | 1167.48 | 1167.48
ISP | Driver IGBTs | 2SP0320V2A0-2MBI1400VXB-170E-50 | 747.46 | 747.46
INELEC | Busbar | CSP8115 | 2385.01 | 2385.01
ELECTRONICON | Condensador | E50.R29-105N11 | 186.67 | 186.67
% DESCUENTO A APLICAR SOBRE ESTA TABLA DE PRECIOS